## Feuil1
|  | NH3 | CO2 | CH4 | H2S | PM_1_0 | PM_2_5 | PM_4_0 | PM_10 | temperature | humidity | dew point | wet bulb | wind dir | wind gust | wind speed | Note
Period 13/03/2025 (11:00) 31/03/2025 (15:51) | Rabbit 4 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | Dammaged started 24/03 at 16:10, humidity = C02
| Rabbit 2 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | Dammaged started 24/03 at 16:10, humidity = C02
| Rabbit 6 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | Dammaged started 24/03 at 16:10, humidity = C02
| Rabbit 5 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | Dammaged started 24/03 at 16:10, humidity = C02
| Innova 11 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 5 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MS in | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 2 | 2 | 1 | 1 | 1 | 1
| MS out | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Humidity of 100% a lot (might be dammaged), check if it has an influence on dew point or wet bulb
| Envea | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Period 31/03/2025 (15:30) 18/04/2025 (11:00) | Rabbit 4 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | humidity = C02
| Rabbit 2 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | humidity = C03
| Rabbit 6 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | humidity = C04
| Rabbit 1 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 2 | NA | NA | NA | NA | NA | humidity = C05
| Innova 11 | 1 | 1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 5 | 1 | 1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 3 | 1 | 1 | 1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Instrument not mentionned in the disposizione file
| Innova 4 | 1 | 1 | 1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Instrument not mentionned in the disposizione file
| MS in | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 2 | 2 | 1 | 1 | 1 | 1
| MS out | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Humidity of 100% a lot (might be dammaged), check if it has an influence on dew point or wet bulb
| Envea | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Period 30/04/2025 (11:30) 11/05/2025 (23:00) | Rabbit 4 | 1 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 0 | NA | NA | NA | NA | NA
| Rabbit 2 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 0 | NA | NA | NA | NA | NA
| Rabbit 6 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 0 | NA | NA | NA | NA | NA
| Rabbit 5 | 1 | 1 | NA | 0 | 0 | 0 | 0 | 0 | 1 | 0 | NA | NA | NA | NA | NA
| Rabbit 1 | 2 | 2 | NA | 0 | 0 | 0 | 0 | 0 | 2 | 0 | NA | NA | NA | NA | NA | Data for only 1hour
| Innova 11 | 1 | 1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 5 | 1 | 1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MS in | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 2 | 2 | 1 | 1 | 1 | 1 | Wet bulb and temperature have exactly the same variations (with different scales): to confirm 10/05: gap of 12h starting at 04:06 without measure for the wind measures (I had no measurement on the 11/05 on the website)
| MS out | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10/05: gap of 12h starting at 04:06 without measure for the wind measures (I had no measurement on the 11/05 on the website) Humidity of 100% a lot (might be dammaged), check if it has an influence on dew point or wet bulb
| Envea | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Period 12/06/2025 (??:??) 25/06/2025 (??:??) | Rabbit 2 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA
| Rabbit 4 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA
| Rabbit 1 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA
| Rabbit 6 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA
| Rabbit 5 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA
| Innova 11 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 5 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 4 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Innova 3 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| MS in | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 2 | 2 | 1 | 1 | 1 | 1
| MS out | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Humidity of 100% a lot (might be dammaged), check if it has an influence on dew point or wet bulb
| Envea | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Period 11/09/2025 (18:00) 18/09/2025 (10:19) | Rabbit 2 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | Save issue for rabbit (no app on the phone + the site keep an historic of only one week)
| Rabbit 4 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | Save issue for rabbit (no app on the phone + the site keep an historic of only one week)
| Rabbit 6 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | Save issue for rabbit (no app on the phone + the site keep an historic of only one week)
| Rabbit 3 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | Save issue for rabbit (no app on the phone + the site keep an historic of only one week)
| Rabbit 5 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | Save issue for rabbit (no app on the phone + the site keep an historic of only one week)
| Innova 11 | 1 | 1 | 1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Name on the file disposizione strumenti might not be good
| Innova 5 | 1 | 1 | 1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Name on the file disposizione strumenti might not be good
| Innova 7 | 1 | 1 | 1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Name on the file disposizione strumenti might not be good
| MS in | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 2 | 2 | 1 | 1 | 1 | 1
| MS out | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Humidity of 100% a lot (might be dammaged), check if it has an influence on dew point or wet bulb
| Envea | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Period 18/09/2025 (10:20) 25/09/2025 (10:30) | Rabbit 2 | 1 | 1 | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | NA | NA | H2S to confirm (a lot at 0)
| Rabbit 4 | 1 | 1 | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | NA | NA | H2S to confirm (a lot at 0)
| Rabbit 6 | 2 | 2 | NA | 2 | 2 | 2 | 2 | 2 | 2 | 2 | NA | NA | NA | NA | NA | No data on almost all period
| Rabbit 3 | 1 | 1 | NA | 2 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | NA | NA | H2S to confirm (only 0)
| Rabbit 5 | 1 | 1 | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | NA | NA | H2S to confirm (a lot at 0)
| Rabbit 1 | 2 | 2 | NA | 2 | 0 | 0 | 0 | 0 | 2 | 2 | NA | NA | NA | NA | NA | Instrument not mentionned in the disposizione file Data only from the 24/09
| Innova 11 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Name on the file disposizione strumenti might not be good
| Innova 5 | 1 | 1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Name on the file disposizione strumenti might not be good
| Innova 7 | 1 | 1 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Name on the file disposizione strumenti might not be good
| MS in | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 2 | 2 | 1 | 1 | 1 | 1
| MS out | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Humidity of 100% a lot (might be dammaged), check if it has an influence on dew point or wet bulb
| Envea | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## Legend
Legend | Color
| Value | NA | 0 | 1 | 2 | 3
| Signification | Not applicable | Missing | Ok | Dammaged | To rework